## Devices for SAMBA
Material | Material Description
C7021B2005/U | 6" DUCT SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE II
C7021B2013/U | 12" DUCT SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE II
C7021C2003/U | 18" DUCT SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE II
C7021D2001/U | PIPE SENSOR WITH WIRING ENCLOSURE, 10K OHM NTC TYPE II, USE WELL 50001774-001
C7021F2009/U | 10K ohm NTC Type II Outdoor Temperature Sensor, Operating range -40-158F 10K ohm NTC Type II Outdoor Temperature Sensor, Operating range -40-158F
C7021J2007/U | 12" DUCT AVERAGING SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE II
C7021K2005/U | 10K ohm NTC Type II Water Temperature Sensor, Operating range -40-250F
C7021N2001/U | PROBE SENSOR WITH 6' LEAD, 10K OHM NTC TYPE II
C7021P2004/U | SMALL METAL BUTTON SENSOR, 10K OHM NTC TYPE II
C7021R2000/U | 12" DUCT AVERAGING SENSOR W/ FLEXIBLE COPPER, 10K OHM NTC TYPE II
C7021R2018/U | 24" DUCT AVERAGING SENSOR W/ FLEXIBLE COPPER, 10K OHM NTC TYPE II
C7023B2005/U | 6" DUCT SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE III
C7023B2013/U | 12" DUCT SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE III
C7023C2003/U | 18" DUCT SENSOR W/ WIRING ENCLOSURE, 10K OHM NTC TYPE III
C7023D2001/U | PIPE SENSOR WITH WIRING ENCLOSURE, 10K OHM NTC TYPE III, USE WELL 50001774-001
C7023F2009/U | OUTDOOR WEATHERPROOF SENSOR, CONNECTS TO 1/2" CONDUIT, 10K OHM NTC TYPE III
C7023J2007/U | 10K ohm NTC Type III Averaging Duct Temp Sensor,12ft, -40-250F
C7023K2005/U | 10K ohm NTC Type III Water Temperature Sensor,Operating range -40-250F
C7023N2001/U | PROBE SENSOR WITH 6' CABLE, 10K OHM NTC TYPE III
C7023P2004/U | SMALL METAL BUTTON SENSOR, 10K OHM NTC TYPE III
C7023R2000/U | 12" DUCT AVERAGING SENSOR W/ FLEXIBLE COPPER, 10K OHM NTC TYPE III
C7023R2018/U | 24" DUCT AVERAGING SENSOR W/ FLEXIBLE COPPER, 10K OHM NTC TYPE III
C7031B2005/U | PT1000 TEMPSENSOR,6 IN.INSERTION, USE W/ T775, OERATING RANGE -40-250F
C7031D2003/U | IMMERSION SENSOR, PT1000
C7031J2009/U | PT1000 ELECTRONIC DUCT TEMPERATURE SENSOR, 12FT, USE WITH XL500
C7041B2005/U | 20K OHM NTC DUCT TEMPERATURE SENSOR, 6 IN., OPERATING RANGE -40-250F
C7041B2013/U | DUCT SENSOR - 20K OHM, 12 INCH
C7041C2003/U | 20K ohm NTC Duct Temperature Sensor,18 in., Operating range -40-250F
C7041D2001/U | IMMERSION SENSOR - 20K OHM
C7041F2006/U | OUTDOOR SENSOR - 20K OHM, PLASTIC WEATHERPROOF ENCLOSURE
C7041J2007/U | 20K OHM NTC DUCT AVERAGING TEMP SENSOR,12FT, OPERATING RANGE -40-250F
C7041K2005/U | 20K ohm NTC Water Temperature Sensor, Strap on, Operating range -40-250F
C7041N2020/U | 20K OHM NTC TYPE II PROBE SENSOR. -40 TO 250F RANGE. 6 FOOT LEAD
C7041P2004/U | 20K BUTTON SENSOR FOR MOUNTING ON A WALL OR AT THE END OF CONDUIT 20K ohm NTC Stainless Stl Button Sensor,Use w/ W927/W7100/T7350/EXCEL
C7041R2000/U | 20K NTC 12 FT RIGID COPPER AVERAGING SENSOR 20K ohm NTC Duct Averaging Temp Sensor,12ft,Flexible copper, -40-250F
C7041R2018/U | 20K NTC 24 FT RIGID COPPER AVERAGING SENSOR 20K ohm NTC Duct Averaging Temp Sensor,24ft,Flexible copper, -40-250F
C7100D1001/U | AVERAGING DISCHARGE TEMPERATURE, 13" ELEMENT PT1000 SENSOR, 40 TO 100F, COMPATIBLE WITH XL600 <(>&<)> 500.
C7232A1008/U | CO2 SENSOR, WALL MOUNT, DISPLAY, 1 MOD, 1 RELAY OUTPUT
C7232A1016/U | CO2 SENSOR, WALL MOUNT, NO DISPLAY 1 MOD 1 RELAY OUTPUT WALL MOUNT CO2 SENSOR,W/O DISPLAY, 0/2-10VDC OR 0/4-20MA OUTPUT
C7232A1024/U | CO2 SENSOR, NO HW LOGO, WALL MOUNT WITH DISPLAY, 1 MOD 1 RELAY OUTPUT WALL MOUNT CO2 SENSOR W/ DISPLAY,0/2-10VDC OR 0/4-20MA OUTPUT
C7232A1032/U | CO2 SENSOR. WALL MOUNT WITHOUT DISPLAY. WITH ONE RELAY OUTPUT. WITHOUT WALL MOUNT CO2 SENSOR,W/O DISPLAY,0/2-10VDC OR 0/4-20MA OUTPUT
C7232B1006/U | CO2 SENSOR, DUCT MOUNT WITH DISPLAY, 1 MOD 1 RELAY OUTPUT
C7232B1014/U | CO2 SENSOR, DUCT MOUNT, NO DISPLAY 1 MOD 1 RELAY OUTPUT
C7232B1022/U | CO2 SENSOR, NO HW LOGO, DUCT MOUNT WITH DISPLAY, 1 MOD 1 RELAY OUTPUT
C7232B1030/U | CO2 SENSOR, NO HW LOGO, DUCT MOUNT, NO DISPLAY, 1 MOD, 1 RELAY OUTPUT
C7250A1001/U | ELECTRONIC 20K TEMPERATURE SENSOR.
C7262A1008/U | CO2 SENSOR , WALL MOUNT WITH DISPLAY. WITH ONE MODULATING OUTPUT AND ONE WALL MOUNT CO2 /TEMP SENSOR W/ DISPLAY,0/2-10VDC OR 0/4-20MA OUTPUT URE OUTPUT. CARBON DIOXIDE SENSOR/CONTROLLER
C7262A1016/U | CO2 SENSOR, WALL MOUNT WITHOUT DISPLAY WITH ONE MODULATING OUTPUT AND WALL MOUNT CO2 /TEMP SENSOR,W/O DISPLAY,0/2-10VDC OR 0/4-20MA OUTPUT TURE OUTPUT, CARBON DIOXIDE SENSOR/CONTROLLER
C7632A1004/U | CO2 SENSOR, WALL MOUNT, NO DISPLAY, NO RELAY OUTPUT, FIXED 0-10 VDC, WALL MOUNT CO2 SENSOR W/ DISPLAY,0-10VDC(FIXED) OUTPUT
C7632B1002/U | CO2 SENSOR, DUCT MOUNT, NO DISPLAY, NO RELAY OUTPUT, FIXED 0-10 VDC
C7770A1006/U | DUCT MOUNTED TEMPERATURE PROBE 20K NON LINEAR NTC THERMISTOR. 20K OHM NTC DUCT TEMP SENSOR,6 IN. PROBE, 45-99F, FOR USE WITH W751
C7770A1040/U | 20K ohm NTC Duct Temp Sensor,6 in. probe/6 ft plenum cable, 45-99F
C7772A1004/U | BRUSHED STAINLESS STEEL 20K OHM WALL PLATE SENSOR, WITHOUT LOGO 20 K OHMNTC FLUSH WALL MOUNT TEMPERATURE SENSOR, W/O LOGO
C7772A1012/U | FLUSHMOUNT WALL SENSOR - 20K OHM W/HONEYWELL LOGO 20 K ohm NTC Flush Wall Mount Temperature Sensor, w/ logo
C7772F1004/U | WALL FLUSH MOUNT TEMPERATURE SENSOR, 10K NTC TYPE II, WITHOUT LOGO
C7772F1012/U | WALL FLUSH MOUNT TEMPERATURE SENSOR, 10K NTC TYPE II, WITH LOGO
C7772G1004/U | 10K ohm NTC Type III Flush Mount Temperature Sensr, w/o logo
C7772G1012/U | 10K ohm NTC Type III Flush Mount Temperature Sensr, w/ logo
C7776A1006/U | 6.5" DUCT PROBE SENSOR W/ FLANGE, 10K OHM NTC TYPE II
C7776A1040/U | 6.5" DUCT PROBE SENSOR W/ FLANGE, 6 FT PLENUM CABLE, 10K NTC TYPE II
C7778A1006/U | 10K ohm NTC Type III Duct Temp Sensor,6 in. probe, 45-99F
C7778A1040/U | 6.5" DUCT PROBE SENSOR W/ FLANGE, 6 FT PLENUM CABLE, 10K NTC TYPE III
CSP-NO-A-150A | 1.25-150A ADJ SPLIT CORE CURRENT N/O
CSP-NO-F-200A | 0.35-200A FIXED SPLIT CORE CURRENT N/O
CSP-NO-A-150A | 1.25-150A ADJ SPLIT CORE CURRENT N/O
CSP-NO-A-150A | 1.25-150A ADJ SPLIT CORE CURRENT N/O
CSP-NO-F-200A | 0.35-200A FIXED SPLIT CORE CURRENT N/O
CSP-NO-F-200A | 0.35-200A FIXED SPLIT CORE CURRENT N/O
CR-12VDC-NO-10A | COMMAND RELAY - 12VDC/10 A SPST N/O
CR-12VDC-NO-10A | COMMAND RELAY - 12VDC/10 A SPST N/O
CR-24V-NO-10A | COMMAND RELAY - 24VAC/10 A SPST N/O
CR-24V-NC-10A | COMMAND RELAY - 24VAC/10 A SPST N/C
CSP-NO-F-200A | 0.35-200A FIXED SPLIT CORE CURRENT N/O
MCS-NO-A-50A | 0.75-50A ADJ SOLID CORE CURRENT N/O
CS-NO-F-50A | 0.25-50A FIXED SOLID CORE CURRENT N/O
MCS-NO-A-50A | 0.75-50A ADJ SOLID MINI-SOLID, N/O
CS-NO-A-50A | 0.25-50A FIXED, SOLID, N/O
DIAM-CRK-01 | DIAMOND CRANK ARM
H7625A2010/U | 2% RH ACCURACY, WALL MOUNT, WITH 20K OHM TEMP OUTPUT, 0-10VDC, 0-5VDC, OR 4-20 MA OUTPUT SELECTABLE
H7725B2006 | DUCT HUMDTY SENSOR,2% RH,W/ 20K OHM TEMP
H7735A2012 | WALL HUMDTY SENSOR,3% RH,W/ 20K OHM TEMP
H7735B2018 | DUCT HUMDTY SENSOR,3% RH,W/ 20K OHM TEMP
H7735C2015 | OUTDOOR HUMDITY SENSOR,3% RH,W/ 20K TEMP
H7655A1001/U | 5% RH ACCURACY, WALL MOUNT, WITH 20K OHM TEMP OUTPUT, 0-10VDC, 0-5VDC, WALL HUMIDITY SENSOR, 5% RH, 0-10 VDC FIXED OUTPUT
H7735B2018 | DUCT HUMDTY SENSOR,3% RH,W/ 20K OHM TEMP
HVFDSD3A0007G100A | SMARTVFD HVAC 208-230VAC .75HP NEMA1
HVFDSD3A0007G200/U | SMARTVFD HVAC,.75 HP, 3.7 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0007G200A | SMARTVFD HVAC 208-230VAC .75HP NEMA12
HVFDSD3A0007G300/U | SMARTVFD HVAC,.75 HP, 3.7 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0010G100A | SMARTVFD HVAC 208-230VAC 1HP NEMA1
HVFDSD3A0010G200/U | SMARTVFD HVAC,1 HP,4.8 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0010G200A | SMARTVFD HVAC 208-230VAC 1HP NEMA12
HVFDSD3A0010G300/U | SMARTVFD HVAC,1 HP,4.8 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0015G100A | SMARTVFD HVAC 208-230VAC 1.5HP NEMA1
HVFDSD3A0015G200/U | SMARTVFD HVAC,1.5 HP, 6.6 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0015G200A | SMARTVFD HVAC 208-230VAC 1.5HP NEMA12
HVFDSD3A0015G300/U | SMARTVFD HVAC,1.5 HP, 6.6 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0020G100/U | SMARTVFD HVAC,2 HP, 8 AMPS, 208-230 VAC, NEMA 1, DRIVE ALONE
HVFDSD3A0020G100A | SMARTVFD HVAC 208-230VAC 2HP NEMA1
HVFDSD3A0020G200/U | SMARTVFD HVAC,2 HP, 8 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0020G200A | SMARTVFD HVAC 208-230VAC 2HP NEMA12
HVFDSD3A0020G300/U | SMARTVFD HVAC,2 HP, 8 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0030G100/U | SMARTVFD HVAC,3 HP, 11 AMPS, 208-230 VAC, NEMA 1, DRIVE ALONE
HVFDSD3A0030G100A | SMARTVFD HVAC 208-230VAC 3HP NEMA1
HVFDSD3A0030G200/U | SMARTVFD HVAC,3 HP, 11 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0030G200A | SMARTVFD HVAC 208-230VAC 3HP NEMA12
HVFDSD3A0030G300/U | SMARTVFD HVAC,3 HP, 11 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0050G100A | SMARTVFD HVAC 208-230VAC 5HP NEMA1
HVFDSD3A0050G200/U | SMARTVFD HVAC,5 HP,18 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0050G200A | SMARTVFD HVAC 208-230VAC 5HP NEMA12
HVFDSD3A0075G100A | SMARTVFD HVAC 208-230VAC 7.5HP NEMA1
HVFDSD3A0075G200/U | SMARTVFD HVAC,7.5 HP, 24 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0075G200A | SMARTVFD HVAC 208-230VAC 7.5HP NEMA12
HVFDSD3A0075G300/U | SMARTVFD HVAC,7.5 HP, 24 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0100G100A | SMARTVFD HVAC 208-230VAC 10HP NEMA1
HVFDSD3A0100G200/U | SMARTVFD HVAC,10 HP,31 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0100G200A | SMARTVFD HVAC 208-230VAC 10HP NEMA12
HVFDSD3A0150G100A | SMARTVFD HVAC 208-230VAC 15HP NEMA1
HVFDSD3A0150G200/U | SMARTVFD HVAC,15 HP,48 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0150G200A | SMARTVFD HVAC 208-230VAC 15HP NEMA12
HVFDSD3A0200G100A | SMARTVFD HVAC 208-230VAC 20HP NEMA1
HVFDSD3A0200G200/U | SMARTVFD HVAC,20 HP,62 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0200G200A | SMARTVFD HVAC 208-230VAC 20HP NEMA12
HVFDSD3A0200G300/U | SMARTVFD HVAC,20 HP,62 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0250G100A | SMARTVFD HVAC 208-230VAC 25HP NEMA1
HVFDSD3A0250G200/U | SMARTVFD HVAC,25 HP,75 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0250G200A | SMARTVFD HVAC 208-230VAC 25HP NEMA12
HVFDSD3A0250G300/U | SMARTVFD HVAC,25 HP,75 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3A0300G100A | SMARTVFD HVAC 208-230VAC 30HP NEMA1
HVFDSD3A0300G200/U | SMARTVFD HVAC,30 HP, 88 AMPS, 208-230 VAC, NEMA 12, DRIVE ALONE
HVFDSD3A0300G200A | SMARTVFD HVAC 208-230VAC 30HP NEMA12
HVFDSD3A0300G300/U | SMARTVFD HVAC,30 HP, 88 AMPS, 208-230 VAC, NEMA 3R, DRIVE ALONE
HVFDSD3C0015G100A | SMARTVFD HVAC 460VAC 1.5HP NEMA1
HVFDSD3C0015G200/U | SMARTVFD HVAC, 480VAC, 1.5HP, 3.4 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0015G200A | SMARTVFD HVAC 460VAC 1.5HP NEMA12
HVFDSD3C0015G300/U | SMARTVFD HVAC, 480VAC, 1.5HP, 3.4 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0020G100/U | SMARTVFD HVAC, 480VAC, 2HP, 4.8 AMPS, GRAPHICAL, NEMA 1, DRIVE ALONE
HVFDSD3C0020G100A | SMARTVFD HVAC 460VAC 2HP NEMA1
HVFDSD3C0020G200/U | SMARTVFD HVAC, 480VAC, 2HP, 4.8 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0020G200A | SMARTVFD HVAC 460VAC 2HP NEMA12
HVFDSD3C0020G300/U | SMARTVFD HVAC, 480VAC, 2HP, 4.8 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0030G100/U | SMARTVFD HVAC, 480VAC, 3HP, 5.6 AMPS, GRAPHICAL, NEMA 1, DRIVE ALONE
HVFDSD3C0030G100A | SMARTVFD HVAC 460VAC 3HP NEMA1
HVFDSD3C0030G200/U | SMARTVFD HVAC, 480VAC, 3HP, 5.6 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0030G200A | SMARTVFD HVAC 460VAC 3HP NEMA12
HVFDSD3C0030G300/U | SMARTVFD HVAC, 480VAC, 3HP, 5.6 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0040G100/U | SMARTVFD HVAC, 480VAC, 4HP, 8 AMPS, GRAPHICAL, NEMA 1, DRIVE ALONE
HVFDSD3C0040G100A | SMARTVFD HVAC 460VAC 4HP NEMA1
HVFDSD3C0040G200/U | SMARTVFD HVAC, 480VAC, 4HP, 8 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0040G200A | SMARTVFD HVAC 460VAC 4HP NEMA12
HVFDSD3C0040G300/U | SMARTVFD HVAC, 480VAC, 4HP, 8 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0050G100A | SMARTVFD HVAC 460VAC 5HP NEMA1
HVFDSD3C0050G200/U | SMARTVFD HVAC, 480VAC, 5HP, 9.6 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0050G200A | SMARTVFD HVAC 460VAC 5HP NEMA12
HVFDSD3C0050G300/U | SMARTVFD HVAC, 480VAC, 5HP, 9.6 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0075G100A | SMARTVFD HVAC 460VAC 7.5HP NEMA1
HVFDSD3C0075G200/U | SMARTVFD HVAC, 480VAC, 7.5HP, 12 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0075G200A | SMARTVFD HVAC 460VAC 7.5HP NEMA12
HVFDSD3C0100G100A | SMARTVFD HVAC 460VAC 10HP NEMA1
HVFDSD3C0100G200A | SMARTVFD HVAC 460VAC 10HP NEMA12
HVFDSD3C0150G100/U | SMARTVFD HVAC, 480VAC, 15HP, 23 AMPS, GRAPHICAL, NEMA 1, DRIVE ALONE
HVFDSD3C0150G100A | SMARTVFD HVAC 460VAC 15HP NEMA1
HVFDSD3C0150G200A | SMARTVFD HVAC 460VAC 15HP NEMA12
HVFDSD3C0200G100A | SMARTVFD HVAC 460VAC 20HP NEMA1
HVFDSD3C0200G200/U | SMARTVFD HVAC, 480VAC, 20HP, 31 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0200G200A | SMARTVFD HVAC 460VAC 20HP NEMA12
HVFDSD3C0200G300/U | SMARTVFD HVAC, 480VAC, 20HP, 31 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0250G100A | SMARTVFD HVAC 460VAC 25HP NEMA1
HVFDSD3C0250G200/U | SMARTVFD HVAC, 480VAC, 25HP, 38 AMPS, GRAPHICAL, NEMA 12, DRIVE ALONE
HVFDSD3C0250G200A | SMARTVFD HVAC 460VAC 25HP NEMA12
HVFDSD3C0250G300/U | SMARTVFD HVAC, 480VAC, 25HP, 38 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3C0300G100A | SMARTVFD HVAC 460VAC 30HP NEMA1
HVFDSD3C0300G200A | SMARTVFD HVAC 460VAC 30HP NEMA12
HVFDSD3C0300G300/U | SMARTVFD HVAC, 480VAC, 30HP, 46 AMPS, GRAPHICAL, NEMA 3R, DRIVE ALONE
HVFDSD3D0030G100A | SMARTVFD HVAC 600VAC 3HP NEMA1
HVFDSD3D0030G200A | SMARTVFD HVAC 600VAC 3HP NEMA12
HVFDSD3D0050G100A | SMARTVFD HVAC 600VAC 5HP NEMA1
HVFDSD3D0050G200A | SMARTVFD HVAC 600VAC 5HP NEMA12
HVFDSD3D0075G100A | SMARTVFD HVAC 600VAC 7.5HP NEMA1
HVFDSD3D0075G200A | SMARTVFD HVAC 600VAC 7.5HP NEMA12
HVFDSD3D0100G100A | SMARTVFD HVAC 600VAC 10HP NEMA1
HVFDSD3D0100G200A | SMARTVFD HVAC 600VAC 10HP NEMA12
HVFDSD3D0150G100A | SMARTVFD HVAC 600VAC 15HP NEMA1
HVFDSD3D0150G200A | SMARTVFD HVAC 600VAC 15HP NEMA12
HVFDSD3D0200G100A | SMARTVFD HVAC 600VAC 20HP NEMA1
HVFDSD3D0200G200A | SMARTVFD HVAC 600VAC 20HP NEMA12
HVFDSD3D0250G100A | SMARTVFD HVAC 600VAC 25HP NEMA1
HVFDSD3D0250G200A | SMARTVFD HVAC 600VAC 25HP NEMA12
MS3103J1030/U | DAMPER ACTUATOR, SPRING RETURN, 27 LB-IN (3 NM), SYLK-ENABLED, 24 VAC/DC, 50/60 HZ
MS3105J3030/U | DAMPER ACTUATOR, SPRING RETURN, 44 LB-IN (5 NM), SYLK-ENABLED, 24 VAC/DC, 50/60 HZ
MS3105J3130/U | DAMPER ACTUATOR, SPRING RETURN, 44 LB-IN (5 NM), SYLK-ENABLED, 1 INTERNAL AUXILIARY SWITCH, 24 VAC/DC, 50/60 HZ
MS7103A1021/U | LOW VOLT, 2-10V MOD ONLY, NO FB, NO SW, SCSA, 1/2" CONDUIT
MS7103A2021/U | LOW VOLT, 2-10V MOD ONLY, FB, NO SW, SCSA, 1/2" CONDUIT
MS7103A2024/U | DCA SR 27LB-IN 3NM, LOW VOLT, FB, NO SW
MS7103A2221/U | LOW VOLT, 2-10VMOD ONLY, FB, SW, SCSA, 1
MS7103A2224/U | DCA SR 27LB-IN 3NM, LOW VOLT, FB, SW
MS7503A2038/U | DAMPER ACTUATOR
MS7503A2138/U | DAMPER ACTUATOR
MS7505A2038/U | DAMPER ACTUATOR
P7660D1000X | PRESSURE 10.0" ADJ UNIVER NO DISPL/PROBE
P7660D1000D | PRESSURE 10.0" ADJ UNIVER DISPLAY/PROBE
STRN-BRKT/U | ANTI-ROTATION BRACKET FOR ZELIX 27 AND 44 LB-IN SPRING RETURN DIRECT COUPLED ACTUATORS
STRN-CA-01/U | CRANK ARM (NON-SELF-CENTERING) FOR ZELIX 27 AND 44 LB-IN SPRING RETURN DIRECT COUPLED ACTUATORS
STRN-CA-02/U | CRANK ARM (SELF-CENTERING) FOR 27 AND 44 LB-IN SPRING RETURN DIRECT COUPLED ACTUATORS
STRN-CRK-01/U | FOOT-MOUNT CRANK ARM KIT FOR ZELIX 27 AND 44 LB-IN DIRECT COUPLED ACTUATORS. INCLUDES FOOT-MOUNT BRACKET, CRANK ARM, AND HARDWARE
STRN-ECONO-01/U | ECONOMIZER FOOT MOUNT KIT FOR 27 AND 44 LB-IN DIRECT COUPLED ACTUATORS. INCLUDES FOOT-MOUNT BRACKET, ECONOMIZER MOUNTING BRACKET, CRANK ARM, AN D HARDWARE
STRN-SCSA/U | REPLACEMENT SELF-CENTERING SHAFT ADAPTOR FOR ZELIX 27 AND 44 LB-IN SPRING RETURN DIRECT COUPLED ACTUATORS
STRN-STRNRLF/U | STRAIN RELIEF (PACKAGE OF 10) FOR ZELIX 27 ADN 44 LB-IN SPRING RETURN DIRECT COUPLED ACTUATORS
STRN-WMK-01/U | WALL MOUNT KIT FOR ZELIX 27 AND 44 LB-IN SPRING RETURN DIRECT COUPLED ACTUATORS. INCLUDES WALL MOUNT BRACKET, CRANK ARM, AND HARDWARE
TR21/U | NTC20K REMOTE AIR SENSOR TEMPERATURE WALL MODULE
UEC24014M262/U | DIFFERENTIAL PRESSURE SWITCH, UL CSA, FM, AND NEMA 1 APPROVED
UEC24014M262M900/U | H20 DIFF PRES SW
W7220A1000/U | ECONOMIZER LOGIC WITH DCV AND COMMISSIONING.
C7400S1000/U | PROVIDES HW SYLK BUS SIGNAL IN RELATION TO ENTHALPY - 5% ACCURACY
W7220-PCMOD/U | MODULE FOR COMMUNICATION WITH JADE ECONOMIZER AND PC
WU5024-001/U | GLOBE VALVE BONNET ADAPTER 1-3/8" DIAMETER-18 TPI WITH 3/8"-24 TPI STEM ADAPTER
Y7220A7215/U | Y PACK OF JADE ECONOMIZER,TEMP AND MIXED AIR SENSORS AND M7215 MOTOR
Y7220S7215/U | Y PACK OF JADE ECONOMIZER, ENTHALPY AND MIXED AIR SENSORS AND M7215 MOTOR
YL7220A7503/U | Y PACK OF JADE ECONOMIZER, TEMP AND MIXED AIR SENSORS AND MS7503 DCA
YL7220AJ3103/U | Y PACK OF JADE ECONOMIZER, TEMP AND MIXED SENSORS AND MS3103 DCA
YL7220AJ3105/U | Y PACK OF JADE ECONOMIZER, TEMP AND MIXED SENSORS AND MS3105 DCA
YL7220S7503/U | Y PACK OF JADE ECONOMIZER, ENTHALPY AND MIXED SENSORS AND MS7503 DCA
YL7220SJ3103/U | Y PACK OF JADE ECONOMIZER, ENTHALPY AND MIXED SENSORS AND MS3103 DCA
YL7220SJ3105/U | Y PACK OF JADE ECONOMIZER, ENTHALPY AND MIXED SENSORS AND MS3105 DCA
TC500A-N | 3H/3C COMMERCIAL THERMOSTAT
IO-10MIXR-NWE | NORTH AMERICAN IO FOR SMB 4 UIO/ 2 DI/ 4 DO
IO-10MIXR-WE | EUROPE/ LATAM IO FOR SMB 4 UIO/ 2 DI/ 4 DO
GW-1000-NWE | NORTH AMERICAN GATEWAY FOR SMB
GW-1000-WE | EUROPE/ LATAM GATEWAY FOR SMB
MTCAP-915-041A | WIRELESS SENSOR PROTOCOL CONVERTER FOR SMB
R718CT | WIRELESS SMB TEMPERATURE SENSOR DUCT
R718A | WIRELESS SMB TEMPERATURE/HUMIDITY SENSOR SPACE
R718G | WIRELESS SMB PHOTOCELL INDOOR/OUTDOOR
ALS-300 (708100000) | ANALOG LIGHT SENSOR: 0-300 FOOT CANDLES (19.25 TO 4.25mA)
ALS-1.5K (708101000) | ANALOG LIGHT SENSOR: 0-1500 FOOT CANDLES (19.25 TO 4.25mA)
RCC-ST2K-2 | RCC 2K NTC TEMPERATURE SENSOR: 2 METER (-50 C TO +125 F) (-45.5 C TO 51.7 C)
RCC-ST2K-5 | RCC 2K NTC TEMPERATURE SENSOR: 5 METER (-50 C TO +125 F) (-45.5 C TO 51.7 C)
RCC-ST2K-8 | RCC 2K NTC TEMPERATURE SENSOR: 8 METER (-50 C TO +125 F) (-45.5 C TO 51.7 C)
7330900 | LOW PRESSURE TRANSDUCER: 0-100 PSIG
7330910 | HIGH PRESSURE TRANSDUCER: 0-400 PSIG
RCC-SP150-2 | RCC 150 PSIG PRESSURE SENSOR - 2M CABLE
RCC-SP150-5 | RCC 150 PSIG PRESSURE SENSOR - 5M CABLE
RCC-SP150-M | RCC 150 PSIG PRESSURE SENSOR - NO CABLE
RCC-SP300-2 | RCC 300 PSIG PRESSURE SENSOR - 2M CABLE
RCC-SP300-5 | RCC 300 PSIG PRESSURE SENSOR - 5M CABLE
RCC-SP300-M | RCC 300 PSIG PRESSURE SENSOR - NO CABLE
RCC-SP500-2 | RCC 500 PSIG PRESSURE SENSOR - 2M CABLE
RCC-SP500-5 | RCC 500 PSIG PRESSURE SENSOR - 5M CABLE
RCC-SP500-M | RCC 500 PSIG PRESSURE SENSOR - NO CABLE
LLO | LLO_4-20mA_0-1000lux (Outdoor Light Level Sensor)
LLO_4-20mA_0-2000lux (Outdoor Light Level Sensor)
LLO_4-20mA_0-4000lux (Outdoor Light Level Sensor)
LLO_4-20mA_0-8000lux (Outdoor Light Level Sensor)
LLO_4-20mA_0-20000lux (Outdoor Light Level Sensor)
LLS | LLS_4-20mA_0-1000lux (Space Light Level Sensor)
LLS_4-20mA_0-2000lux (Space Light Level Sensor)
LLS_4-20mA_0-4000lux (Space Light Level Sensor)
LLS_4-20mA_0-8000lux (Space Light Level Sensor)
LLS_4-20mA_0-20000lux (Space Light Level Sensor)